## Slide 1
01 / 09
Linear Algebra Medical Imaging Inverse Problems
CT Reconstructionusing LU Decomposition
From X-ray projections to image reconstruction — a first-principles implementation in Python
4
Phases
23
Source Files
31
Unit Tests
1.2k
Lines of Code

## Slide 2
02 / 09
THE BIG PICTURE
From Measurements to Image
Given measurements A · x = b &nbsp;&nbsp;→&nbsp;&nbsp; Find x
The Forward Problem Easy
Given an image x, simulate the X-ray beams. Each ray's path through the pixels defines a row in matrix A. The result is a sinogram b — the measurements a real detector would record.
The Inverse Problem Hard
Given the sinogram b and system matrix A, recover the original image x. This is ill-posed: small measurement errors amplify into large reconstruction errors.
Key insight: The system is overdetermined (1,408 equations, 1,024 unknowns) and 91% sparse — most matrix entries are zero because each X-ray beam passes through only a fraction of pixels. This sparsity is the key to efficient solving.

## Slide 3
03 / 09
PHASE 1
The Forward Model
1. Phantom Generation
The 32 × 32 Shepp-Logan phantom — a standard test image simulating a cross-section of a human head. Built from 10 ellipses with varying intensities for skull, brain, and features.
2. Ray Tracing
Parallel-beam geometry: 44 angles × 32 detectors = 1,408 rays. Each ray's intersection length with each pixel becomes one entry in the system matrix.
3. Sinogram Output
The measurement vector b — the "shadow" cast by the phantom. In a real CT scanner, this is what the detector array records as the gantry rotates around the patient.
1,408
Equations (rows)
More equations than unknowns
1,024
Unknowns (columns)
32 × 32 = 1,024 pixels
91%
Sparsity
~127k non-zero entries

## Slide 4
04 / 09
PHASE 2
The Mathematics of Solving A·x = b
Least-Squares Solution
Since A is not square, we minimize the squared error:
x̂ = argmin ‖A·x − b‖²
The solution satisfies the normal equations: A
Two Solver Strategies
Dense LU
Factor Aᵀ·A into P·L·U → forward &amp; back substitution. Exact but expensive for large systems.
Sparse LSQR
Iterative method (Golub-Kahan bidiagonalization). Works directly with sparse A — no dense Aᵀ·A needed.
Iterative Refinement
Correction step
x̂ₖ₊₁ = x̂ₖ + A†·(b − A·x̂ₖ)
Auto-Select
Dense ↔ Sparse
Chooses best method based on size
Tikhonov Reg.
Noise dampening
min ‖A·x − b‖² + λ²‖x‖²

## Slide 5
05 / 09
FORMULARY
Key Formulae Used in This Project
Every formula below maps directly to a source file in the codebase.
▸ Forward Model
A · x = b
min ‖A·x − b‖²
projector.py — builds sparse A, b lud_solver.py — all solver strategies
▸ LU Decomposition
P·A = L·U
L·y = P·b ⟶ U·x = y
lud_solver.py:113–153 — dense PA=LU with partial pivoting
▸ Tikhonov Regularization
min ‖A·x−b‖² + λ²·‖x‖²
lud_solver.py — LSQR damp = √λ noise.py — robustness sweep (λ=4.0)
▸ Iterative Refinement
rₖ = b − A·xₖ
xₖ₊₁ = xₖ + A†·rₖ
lud_solver.py:156–191 — repeats until ‖r‖/‖b‖ < 10⁻¹⁰ (max 3 iterations)
▸ Quality Metrics
RMSE = √(mean((x̂−x)²))
PSNR = 20·log₁₀(max/RMSE)
SSIM = (2μₓμᵧ+C₁)(2σₓᵧ+C₂) / ((μₓ²+μᵧ²+C₁)(σₓ²+σᵧ²+C₂))
metrics.py:23–76 — RMSE, PSNR, SSIM, relative error, forward residual
▸ Other Key Formulae
sparsity = 1 − nnz/(m·n)
noise = b + σ·N(0,1), σ = noise·std(b)
projector.py — sparsity calc noise.py — Gaussian & Poisson
18+ unique formulae across 4 phases, each linked to its source implementation.

## Slide 6
06 / 09
IMPLEMENTATION
Project Architecture
Project Structure
# Project structure main.py ← CLI entry point (argparse + rich) └ src/ ├ phantom.py ← Shepp-Logan generator ├ projector.py ← Ray tracing → sparse A + b ├ lud_solver.py ← LU + LSQR implementations ├ reconstructor.py ← Full pipeline orchestrator ├ metrics.py ← RMSE, PSNR, SSIM ├ noise.py ← Gaussian noise + robustness ├ loader.py ← DICOM/raster loader ├ validate.py ← 4-phase validation suite └ exporter.py ← HTML report generator
CLI Commands
$ python main.py reconstruct --html
Full pipeline → HTML report
Key design: Single entry point (main.py), modular src/ package, 31 unit tests in tests/, and a Jupyter notebook walkthrough (demo.ipynb). All commands support --html to export standalone reports with embedded plots and metrics tables. DICOM support via pydicom + pylibjpeg.

## Slide 7
07 / 09
PHASE 3
Reconstruction Quality
Measured against the ground-truth phantom using three complementary metrics.
Metric | Basic | With Refinement | Formula
RMSE | 0.0223 | 0.0012 | sqrt(mean((x̂−x)²))
PSNR | 33.38 dB | 58.35 dB | 20·log₁₀(max/RMSE)
SSIM | 0.995 | 1.000 | Structural similarity
Residual | 2.6×10⁻⁵ | 2.3×10⁻⁷ | ‖b − A·x̂‖
What the Metrics Mean
RMSE
Average pixel error. 0.022 = 2.2% per pixel. With refinement: 0.12% — near perfect.
PSNR
Peak Signal-to-Noise Ratio. >30 dB is good; >50 dB is excellent. Refinement achieves 58.35 dB.
SSIM
Structural Similarity — compares patterns, not just pixels. 1.000 = structurally identical.
SSIM = 1.000 with iterative refinement: the reconstruction is structurally indistinguishable from the original phantom when no noise is present.

## Slide 8
08 / 09
PHASE 4
Noise Robustness &amp; Regularization
Real CT measurements are noisy. Without regularization, the inverse problem amplifies noise catastrophically.
Noise | RMSE | PSNR | SSIM
0% | 0.083 | 21.6 dB | 0.913
1% | 0.095 | 20.4 dB | 0.897
5% | 0.245 | 14.7 dB | 0.551
10% | 0.467 | 12.1 dB | 0.252
20% | 0.922 | 10.6 dB | 0.080
Tikhonov Regularization
Instead of solving min ‖A·x − b‖², we solve:
min ‖A·x − b‖² + λ²·‖x‖²
The second term penalizes large solutions, preventing noise amplification. Parameter λ (damp) controls the bias-variance tradeoff.
Without regularization: RMSE jumps from 0.022 → 2.56 at just 1% noise! With regularization: RMSE stays at 0.095 — 27× better.

## Slide 9
09 / 09
WHAT WE BUILT
Summary &amp; Key Takeaways
Core Achievement
A complete CT reconstruction pipeline from first principles: Shepp-Logan phantom → ray tracing → sparse system matrix → LU/LSQR solving → quality metrics → noise analysis.
What We Learned
1. Inverse problems are ill-posed — tiny errors become huge reconstruction failures.
2. Sparsity is a superpower — 91% sparse matrices make iterative solvers practical.
3. Regularization is essential — bias–variance tradeoff is central to all inverse problems.
4. Different tools for different jobs — LU for small/dense, LSQR for large/sparse.
Key Results
• RMSE 0.0012 with refinement (near-perfect)
• Robust up to 5% noise with Tikhonov regularization
• 31 passing unit tests across all 4 phases
• DICOM support for real CT scan reconstruction
• HTML export with --html — standalone reports with embedded plots
Python | NumPy/SciPy | Matplotlib | scikit-image | pydicom | pytest
CT Reconstruction using LU Decomposition · College Project · Python